## Information
Benchmark Tests for Computer Simulated Persons
Mixing ventilation
All measurements are performed with the detailed manikin shown above (right).
The spreadsheet contains 4 worksheets
Vertical profiles 0.2 | Vertical velocity profiles at different positions in the wind tunnel, inlet velocity 0.2 m/s
Vertical profiles 0.5 | Vertical velocity profiles at different positions in the wind tunnel, inlet velocity 0.5 m/s
Horizontal profiles 0.2 | Horizontal velocity profiles at the mouth, torso and above the head, inlet velocity 0.2 m/s
Horizontal profiles 0.5 | Horizontal velocity profiles at the mouth, torso and above the head, inlet velocity 0.5 m/s
The inlet values of turbulent kinetic energy and dissipation were not measured but are expected to be different from those
given in the specification of the CFD test case.
The data can be used and distributed freely.
For further information please contact
Claus Topp | ct@civil.auc.dk | Aalborg University and International Centre for Indoor Environment and Energy
Peter V. Nielsen | pvn@civil.auc.dk | Aalborg University and International Centre for Indoor Environment and Energy

## Vertical profiles 0.2
Vertical velocity profiles in windtunnel
Inlet velocity | 0.2 | m/s
|  | z=-0.295 m |  |  | z=0 |  |  | z=0.295 m
x (m) | 0.19 | 1.69 | 2.19 | 0.19 | 1.69 | 2.19 | 0.19 | 1.69 | 2.19
y(m) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s)
0.275 | 0.11877 | 0.22468 | 0.25805 | 0.2898 | 0.22219 | 0.31041 | 0.41088 | 0.26785 | 0.30678
0.55 | 0.12609 | 0.22143 | 0.34193 | 0.26646 | 0.21092 | 0.57057 | 0.38079 | 0.26302 | 0.37965
0.825 | 0.13097 | 0.14351 | 0.28008 | 0.26746 | 0.22245 | 0.39053 | 0.37318 | 0.23521 | 0.3363
1.1 | 0.14155 | 0.20001 | 0.16746 | 0.26947 | 0.13758 | 0.1572 | 0.3775 | 0.2683 | 0.23398
1.375 | 0.1515 | 0.25108 | 0.18691 | 0.27678 | 0.22957 | 0.21471 | 0.36466 | 0.2567 | 0.24206
1.65 | 0.17152 | 0.24267 | 0.29659 | 0.31981 | 0.27093 | 0.46358 | 0.37009 | 0.27205 | 0.35703
1.925 | 0.17425 | 0.19561 | 0.31177 | 0.3568 | 0.22808 | 0.57433 | 0.35906 | 0.25155 | 0.39452
2.2 | 0.23206 | 0.17939 | 0.19646 | 0.36315 | 0.20658 | 0.32111 | 0.35581 | 0.23425 | 0.27112

## Horizontal profiles 0.2
Horizontal velocity profiles in windtunnel
Inlet velocity | 0.2 | m/s
Torso |  |  | Mouth |  | Above head
Vertical distance from thighs: 158 mm |  |  | y=1.13 m |  | 25 mm above the head
x*=0 at torso |  |  | x*=0 at torso |  | x*= 0 at back of head
x* (m) | Vel. (m/s) |  | x* (m) | Vel. (m/s) | x* (m) | Vel. (m/s)
0.002 | 0.0605 |  | 0.002 | 0.06 | 0 | -0.0252
0.004 | 0.0777 |  | 0.004 | 0.0499 | 0.03 | -0.0251
0.008 | 0.0622 |  | 0.008 | 0.0661 | 0.06 | -0.0175
0.012 | 0.0868 |  | 0.012 | 0.0493 | 0.09 | -0.0085
0.022 | 0.092 |  | 0.022 | 0.0682 | 0.12 | -0.006
0.032 | 0.0901 |  | 0.026 | 0.0585 | 0.15 | 0.0143
0.042 | 0.0812 |  | 0.036 | 0.0632 | 0.18 | 0.0659
0.052 | 0.0859 |  | 0.046 | 0.0681 | 0.21 | 0.1466
0.072 | 0.0717 |  | 0.056 | 0.0709 | 0.24 | 0.1448
0.092 | 0.0651 |  | 0.076 | 0.0703 | 0.27 | 0.1044
0.112 | 0.0561 |  | 0.096 | 0.0614
0.132 | 0.0437 |  | 0.116 | 0.0652
0.152 | 0.0391 |  | 0.136 | 0.0625
|  |  | 0.156 | 0.0585

## Vertical profiles 0.5
Vertical velocity profiles in windtunnel
Inlet velocity | 0.5 | m/s
|  | z=-0.295 m |  |  | z=0 |  |  | z=0.295 m
x (m) | 0.19 | 1.69 | 2.19 | 0.19 | 1.69 | 2.19 | 0.19 | 1.69 | 2.19
y(m) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s) | Vel. (m/s)
0.275 | 0.50055 | 0.68268 | 0.71731 | 0.65733 | 0.52212 | 0.76427 | 0.71639 | 0.74862 | 0.75822
0.55 | 0.42884 | 0.47331 | 0.83087 | 0.64992 | 0.40482 | 1.1954 | 0.72306 | 0.5944 | 0.91611
0.825 | 0.42532 | 0.38128 | 0.71457 | 0.68115 | 0.3651 | 0.93535 | 0.75814 | 0.56223 | 0.82708
1.1 | 0.43957 | 0.54998 | 0.46197 | 0.70354 | 0.45861 | 0.58202 | 0.76605 | 0.74563 | 0.59987
1.375 | 0.49178 | 0.57232 | 0.45115 | 0.71888 | 0.7046 | 0.58702 | 0.76059 | 0.72458 | 0.58409
1.65 | 0.58777 | 0.56625 | 0.71863 | 0.75595 | 0.71674 | 1.0324 | 0.77428 | 0.7402 | 0.83882
1.925 | 0.67596 | 0.56425 | 0.78574 | 0.75413 | 0.67058 | 1.1963 | 0.7606 | 0.7057 | 0.93005
2.2 | 0.76286 | 0.55047 | 0.56164 | 0.76835 | 0.61785 | 0.73331 | 0.78473 | 0.66589 | 0.69279

## Horizontal profiles 0.5
Horizontal velocity profiles in windtunnel
Inlet velocity | 0.5 | m/s
Torso |  |  | Mouth |  | Above head
Vertical distance from thighs 158 mm |  |  | y=1.13 m |  | 25 mm above the head
x*=0 at torso |  |  | x*=0 at torso |  | x*= 0 at back of head
x* (m) | Vel. (m/s) |  | x* (m) | Vel. (m/s) | x* (m) | Vel. (m/s)
0.002 | 0.1309 |  | 0.002 | 0.1437 | 0 | -0.1575
0.004 | 0.14 |  | 0.004 | 0.1099 | 0.03 | -0.1592
0.008 | 0.1522 |  | 0.008 | 0.0452 | 0.06 | -0.1412
0.012 | 0.1609 |  | 0.012 | 0.1226 | 0.09 | -0.1095
0.022 | 0.1478 |  | 0.022 | 0.0544 | 0.12 | -0.0707
0.042 | 0.1634 |  | 0.042 | 0.1157 | 0.15 | -0.0084
0.062 | 0.1332 |  | 0.062 | 0.1005 | 0.18 | 0.0755
0.092 | 0.1584 |  | 0.092 | 0.1059 | 0.21 | 0.2281
0.122 | 0.0895 |  | 0.122 | 0.0785 | 0.24 | 0.2406
0.152 | 0.118 |  | 0.152 | 0.1056 | 0.27 | 0.1831